TOWN OF ATHELSTANE

PRIVATE DRIVEWAY STANDARDS

ORDINANCE #12

SECTION 1 - Permit

To insure compliance with the standards created by this ordinance, no person shall commence construction of any driveway without first obtaining a permit for such construction from the Town of Athelstane.  If granted, such permit shall carry a cost of $25.00.

1a:  Any new projection off any town or county roadway shall be considered a driveway and subject to a Driveway Permit.

SECTION 2 - All driveways and gates must have a minimum clearance 20 feet wide and 15 feet high.

SECTION 3 - An inspection is required by the Town Chairperson or designee to determine whether a culvert is required or not required.  If a culvert is required, it shall be made of steel, concrete or corrugated plastic and any extensions must have appropriate size rings.  The culvert shall have a minimum diameter of 15 inches and a length as determined by the Town Chairperson or designee at the time of inspection. The Town Chairperson or designee shall determine the location of any newly constructed driveway.

SECTION 4 - Private driveway shall service no greater than five (5) lots as defined in Land Division Ordinance #6, 1(B).

SEVERABILITY

In the event that any section or sections herein shall be ruled unconstitutional by any competent court, such determination shall not affect the validity or effectiveness of the others sections of this Ordinance and the remainder of said Ordinance shall remain in effect.

This ordinance adopted by the Town Board of the Town of Athelstane on this 9th day of February, 2016.

The Town Board of Athelstane

By: ______________________________________  Attest  _________________________________

Kelly Barnes - Chairman					Janice DuChateau - Clerk

__________________________________________

Denis DeJardin – Supervisor I

___________________________________________

David Jose – Supervisor II